## Ann Arbor MJ - AV Install
U.S. District Court - Michigan Eastern District - Ann Arbor Magistrate Judge's Courtroom
Attachment A SUMMARY
Bidder:
Date:
Item | Courtroom Name | Bid Title | Bid ID | Bid Amount
1 | Ann Arbor Magistrate Judge's Courtroom | Audio & Control Systems | Base Bid | 0
2 |  | Video & Control Systems | Base Bid | 0
SUB TOTAL BASE BID |  |  |  | #NAME?
GRAND TOTAL |  |  |  | #NAME?

## Ann Arbor MJ-AUDIO
Attachment A - Audio - Ann Arbor Magistrate Judge's Courtroom
AUDIO/CONTROL
CLIN | ITEM | MAKE | MODEL | QTY | OFFERED MAKE | OFFERED MODEL | OFF. QTY | UNIT PRICE | TOTAL PRICE
1001 | Microphone, w/ 18" gooseneck, Cardioid capsule, integral desk stand and Switch | Shure | MX418D/C | 8 |  |  |  |  | 0
1002 | Microphone, w/ 18" gooseneck, cardioid capsule, integral XLR connector, Shock-mount and Switch (for lectern) | Shure | MX418S/C | 1 |  |  |  |  | 0
1003 | Microphone, Boundary | Shure | MX391/O | 1 |  |  |  |  | 0
1004 | Dual Wireless Microphone Receiver, Diversity, UHF, Digital, Frequency Agile, w/ Rack Mount Kit | Shure | ULXD4D | 1 |  |  |  |  | 0
1005 | Handheld Transmitter for Wireless Microphone System, w/ Condenser Cardioid Element | Shure | ULXD2/SM86 | 1 |  |  |  |  | 0
1006 | BodypackTransmitter for Wireless Microphone System, w/ Lavaliere Condenser Cardioid Element | Shure | ULX1/MX183 | 1 |  |  |  |  | 0
1007 | Remote Antennas For Wireless Mic System, Half Wave | Shure | UA820X | 2 |  |  |  |  | 0
1008 | Digital Signal Processor, Fixed I/O, 12 AEC In x 8 Out, w/ VOIP Telephone Interface | Biamp | TesiraForte AVB VI | 2 |  |  |  |  | 0
1009 | Digital Signal Processor, 4 Out, AVB Enabled | Biamp | Tesira EX-OUT | 3 |  |  |  |  | 0
1010 | Extender for USB Audio (Include Send and Receive Ends) | Icron | USB 2.0 Ranger 2201 | 1 |  |  |  |  | 0
1011 | AVB Network Switch, Ethernet, PoE, Managed, 10/100/1000, 24-port, with AVB Option Enabled | Extreme Networks | Summit X430 w/ AVB Option | 1 |  |  |  |  | 0
1012 | USB 2.0 Extender over Cat 5 (for CRD to Counsel Digital Signature System) | Gefen | EXT-USB2.0-LR | 1 |  |  |  |  | 0
1013 | Interpreter's Control Panel w/ Approx. 15' Cord Terminated with 7-Pin XLR Connectors | Quantum | 1952 w/ Cord | 1 |  |  |  |  | 0
1014 | Headphone/Microphone Combo | Sennheiser | HMD 26-II-600-8 | 2 |  |  |  |  | 0
1015 | Playback Switch | Quantum | 2540 | 1 |  |  |  |  | 0
1016 | Headphone Amplifier | Radio Design Labs | ST-SH2 | 7 |  |  |  |  | 0
1017 | Headphone, Under Chin | Bosch | LBB 3441 | 1 |  |  |  |  | 0
1018 | Headphone Volume Control, In-line | Koss | VC-20 | 1 |  |  |  |  | 0
1019 | Self-Powered Desk Speaker, Black (for judge, CRD, reporter and pre-trial) | Fostex | 6301 BEAV | 4 |  |  |  |  | 0
1020 | Power Amplifier, 4 Channel, 200 W/ Channel | QSC | CX204V | 1 |  |  |  |  | 0
1021 | Speaker, 8, Ceiling, 70 V Transformer - with grill and can as needed. | Atlas Sound - for Jury Box | FA138T87 | 6 |  |  |  |  | 0
1022 | Emitter Panel w/ Mounting Bracket | Sennheiser | SZI1029/GZG1029/gzp-10 | 2 |  |  |  |  | 0
1023 | Modulator, Dual Channel | Sennheiser | SI 1015 | 1 |  |  |  |  | 0
1024 | Receivers, w/ Batteries | Sennheiser | HDI 830 / BA 300 | 9 |  |  |  |  | 0
1025 | Receivers, w/ Batteries | Sennheiser | RI 830-S / BA 300 | 1 |  |  |  |  | 0
1026 | Induction Neck Loop | Sennheiser | EZT 3011 | 1 |  |  |  |  | 0
1027 | Charger, 10-Position | Sennheiser | L 300-10-NT | 2 |  |  |  |  | 0
1030 | Touch Panel, Wired, 10", Tilt, Wide Screen, 16:10, 1280 x 800, w/ Table Top Mount, Power Supply | Crestron | TSW-1060 / TSW-1060-TTK-B-S | 2 |  |  |  |  | 0
1031 | Main Control System, Integrated Controller, 8 - IR/Serial, 8 - Digital IO, 8 - Relays, 6 - Two way RS-232/485, 3 - Expansion Slots w/ Master Ethernet Card and Power Supply | Crestron | Pro 3 w/ C2ENET-1, Power Supply, and Memory | 1 |  |  |  |  | 0
1032 | Network Switch, Ethernet, PoE, Managed, 10/100/1000, 24-port (for main rack) | Cisco | SG350-28MP | 1 |  |  |  |  | 0
1033 | Uninterruptible Power Supply, Rack Mountable, 1650 Watt capacity | Middle Atlantic | UPS-2200R-IP | 1 |  |  |  |  | 0
1034 | Transient Voltage Surge Supp., 15A, Rack mount | Tripp Lite | IBAR12-15ULTRA | 1 |  |  |  |  | 0
1035 | Power Relay, 15A | Lowell | RPC-1-15A-CD | 1 |  |  |  |  | 0
1036 | Equipment Rack - Middle Atlanic C5 Credenza - Number of bays, depth and and Wood Kit to be determined during walkthrough. | Middle Atlantic | TBD | 1 |  |  |  |  | 0
1037 | Audiol System Programming, Complete Programming of Entire Audio System. 2/XPanel Web Control Functionality. |  |  | 1 |  |  |  |  | 0
1038 | Include Costs For an Authorized Representative of the Installation Contractor to Attend a Pre-installation Meeting Prior to Commencement of Construction at a Time Convenient to the Court. |  |  | 1 |  |  |  |  | 0
1040 | Patch Cables Misc |  | Various Models | 1 |  |  |  |  | 0
1041 | Power Supplies and Transformers |  | Various Models | 1 |  |  |  |  | 0
1042 | Misc Adaptors / Adaptor Cables |  | Various Models | 1 |  |  |  |  | 0
1043 | Cable - Audio, CAT6 etc. | Various Manufacturers | Various Models | 1 |  |  |  |  | 0
1044 | Total Misc., See Above For Definition, Including Power Strips |  |  | 1 |  |  |  |  | 0
EQUIPMENT SUB TOTAL | [8 empty] | 0
LABOR SUB TOTAL
EQUIPMENT AND LABOR TOTAL
FIRM FIXED-PRICE TRAVEL
GRAND TOTAL | [8 empty] | 0

## Ann Arbor MJ-VIDEO
Attachment A - Video - Ann Arbor Magistrate Judge's Courtroom
VIDEO/CONTROL
CLIN | ITEM | MAKE | MODEL | QTY | OFFERED MAKE | OFFERED MODEL | OFF. QTY | UNIT PRICE | TOTAL PRICE
2001 | Digital Matrix Switcher and Distribution System, 16 x 16, HDMI 1.3 Compatible, HDCP2 Compliant, w/ EDID Management and Key Management - Card Frame | Crestron | DM-MD16X16 | 1 |  |  |  |  | 0
2002 | Digital Matrix Switcher, Twisted Pair Input Card, HDMI 1.3 Compatible, HDCP2 Compliant, EDID Management, and Key Management | Crestron | DMC-4K-C-HDCP2 | 6 |  |  |  |  | 0
2003 | Digital Matrix Switcher, HDMI Input Card, HDMI 1.3 Compatible, HDCP2 Compliant, EDID Management, and Key Management | Crestron | DMC-4K-HD-HDCP2 | 4 |  |  |  |  | 0
2004 | Digital Matrix Switcher, Twisted Pair Output Card, 2-Channel, HDMI 1.3 Compatible, HDCP2 Compliant, EDID Management, and Key Management | Crestron | DMC-4K-CO-HD-HDCP2 | 5 |  |  |  |  | 0
2005 | Digital Matrix Switcher, HDMI Output Card, 2-Channel, HDMI 1.3 Compatible, HDCP2 Compliant, EDID Management, and Key Management | Crestron | DMC-4K-HDO | 2 |  |  |  |  | 0
2006 | Multi-format Twisted Pair Transmitter, Connection Panel Format, w/ Digital Video Input, Analog Video Input, HDMI 1.3 Compatible, HDCP2 Compliant, EDID Management, and Key Management, w/ Power Supply and Cover Plate, Architect/Court to Select Color, w/ Mud Rings | Crestron | DM-TX-200-C-2G-B-T w/ 2G Decora Faceplate | 3 |  |  |  |  | 0
2007 | Multi-format Twisted Pair Transmitter, Furniture Mount Format,, w/ Digital Video Input, Analog Video Input, HDMI 1.3 Compatible, HDCP2 Compliant, EDID Management, and Key Management, w/ Power Supply (includes one spare) | Crestron | DM-TX-4K-302-C | 3 |  |  |  |  | 0
2008 | HDMI Twisted Pair Receiver, HDMI 1.3 Compatible, HDCP2 Compliant, EDID Management, and Key Management, w/ Built-in Scaler, Power Supply (includes one spare) | Crestron | DM-RMC-4K-SCALER-C | 9 |  |  |  |  | 0
2010 | CODEC, High Definition, w/ Natural Presenter Package, 1080p Premium Resolution Option, and Multi-point Option | Cisco | SX80 | 1 | COURT SUPPLIED |  |  |  | 0
2011 | VTC Camera | Vaddio | RoboSHOT 20 UHD | 3 | COURT SUPPLIED |  |  |  | 0
2012 | HDBaseT Receiver for VTC camera | Vaddio | OneLINK HDMI | 3 | COURT SUPPLIED |  |  |  | 0
2012 | Marshall CV502 VTC small format camera, HDSDI to HDMI converter for Marshall camera - for Judge | Marshal | CV502 | 3 | COURT SUPPLIED |  |  |  | 0
2013 | Graphics Processor, 4 Window, w/ Individual Scalers & Digital Video Inputs | Extron | MGP 464 PRO DI | 1 |  |  |  |  | 0
2014 | Monitor, 21.5", 16:9, 1080p, LED Lit (includes one spare) | NEC | EA224WMI-BK | 7 |  |  |  |  | 0
2015 | Monitor, 55", 16:9, 1080p, LED Lit | NEC | P554 | 1 |  |  |  |  | 0
2016 | Monitor, 42", 16:9, 1080p, LED Lit | NEC | V423 | 1 |  |  |  |  | 0
2017 | Monitor Mount, Wall, Dual Swing Arm, w/ Monitor Mating Plate (for 55" monitor) | Chief | PNRIW | 1 |  |  |  |  | 0
2018 | Monitor Mount, Ceiling Pole (for 42" monitor) | Chief | TPMUB | 1 |  |  |  |  | 0
2019 | Monitor Mount - Low Profile Desk Stand, Select VESA Bolt Pattern to Match Specified Monitor (includes one spare) | ErgoMart | SL102 Limbo | 7 |  |  |  |  | 0
2020 | Flit-Top Table Box, Cable Organizer Kits, Cable Pass-Through Brackets, Blank Modules and Power Modules, Black | Crestron | FT-600-B w/ FTA-PWR-102 | 2 |  |  |  |  | 0
2021 | Cable Retractors for Flip-Top Table Box (one set of retractors per box) | Crestron | CBLR2-AUDIO / CBLR2-VGA / CBLR2-HD | 2 |  |  |  |  | 0
2021 | Custom Floor Box Plates - Attorney Tables, Lectern, Witness, Judge & Clerk - Layout to be Approved By Court. | Open |  | 6 |  |  |  |  | 0
2022 | Control System Programming, Complete Programming of Entire Control System. |  |  | 1 |  |  |  |  | 0
2023 | Engineering, Design & Labor |  |  | 1 |  |  |  |  | 0
2024 | Freight |  |  | 1 |  |  |  |  | 0
2025 | HDMI Cable Lacing Bracket, (lot) | Extron | Lockit | 1 |  |  |  |  | 0
2026 | Patch Cables, |  | Various Models | 1 |  |  |  |  | 0
2027 | Power Supplies and Transformers |  | Various Models | 1 |  |  |  |  | 0
2028 | Adaptors / Adaptor Cables, |  | Various Models | 1 |  |  |  |  | 0
EQUIPMENT SUB TOTAL | [8 empty] | 0
LABOR SUB TOTAL
EQUIPMENT AND LABOR TOTAL | [8 empty] | 0
GRAND TOTAL | [8 empty] | 0